| SUBJECT/TITLE: | Lockout Devices |
| --- | --- |
| PURPOSE: | To ensure safe lock out devices |

A. When it is necessary to ensure that a mechanical device, electrical disconnect, valve or other such equipment is out of service, a lockout device, padlock and warning tag shall be attached in such a way that the device remains out of service until it can be placed back in service in a safe manner.  The warning tag shall be signed by the person attaching the lockout device and may be removed only by that person.

1. All personnel shall be instructed on the proper use of lockout devices at least 	     	    once per year.  All new employees shall be instructed on proper use within 8       	    weeks of initial employment.

Source: UI Healthcare Engineering Services

Date effective: July1, 1995

Date Revised: January 28, 2008

Date Reviewed: April 5, 2016