| SUBJECT/TITLE: | Working on Fire Rated Walls |
| --- | --- |
| PURPOSE: | To ensure safe working conditions for employees |

A. All Engineering Services personnel, Contractors, appropriate Vendors and various Hospital Departments are responsible for maintaining the integrity of all fire rated walls in the UIHC Hospital buildings.

1. When performing work on or through fire rated walls, the individual 			     performing the work shall ensure that the work performed does not 			     compromise the rating.

2. The individual performing work on or through fire rated walls shall also note 		     and repair any existing breaches that may be reasonably repaired with the 		     materials and methods being used for the work he/she is performing.

3. Any noted breaches that cannot be reasonably repaired as described in B		     above, shall be reported to the Structural Craft Shop for review and repair.  		     The Structural Craft Shop shall have the option of requesting assistance 		     from the appropriate shop in repairing a breach caused by an item or device 		     associated with that craft.

4. In general, in order to maintain integrity in fire rated walls, each Engineering 		     Services employee is to repair or 	report breaches as they are found or 			     created.  Existing holes of unknown origin are as much of a problem as new 		     ones and must be taken care of when found.

5. The appropriate Construction Manager from Capital Mangement or the 			     Engineering Services Carpenter Shop is to be notified before ceilings are re-		     installed to verify the walls have been maintained to their intended fire rating.

6. All work will comply with applicable NFPA, UBC, JCAHO and LSC codes.

Source: UI Healthcare Engineering Services

Date effective: July1, 1995

Date Revised: February 22, 2008

Date Reviewed: April 6, 2016