| SUBJECT/TITLE: | Med Gas Valve Tagging |
| --- | --- |
| PURPOSE: | To ensure safe working conditions |

A. In order to provide a standard medical gas valve tagging system in the UIHC, the              	procedure below will be followed:

1. The Mechanical Craft Shop shall assign and issue all tags.

2. The Contractor for a project is to provide a floor plan of each area 			     showing the location of each valve and the assigned tag number.

3. A valve tag schedule shall be maintained in the Mechanical Craft Shop 			     and a copy will be posted in the appropriate mechanical areas.

Source: UI Healthcare Engineering Services

Date effective: July1, 1995

Date Revised: February 22, 2008

Date Reviewed: April 6, 2016