| SUBJECT/TITLE: | Asbestos Control |
| --- | --- |
| PURPOSE: | To ensure safe working conditions for employees |

A. It is the goal of Engineering Services to remove or have removed as much asbestos as

possible from the UIHC, and, when it is not possible to remove it, to contain or have it

contained safely.

1. First Response

a. If, during the normal performance of assigned work, Engineering Services staff 		    encounters what is suspected to be asbestos, contact your Shop Supervisor or 	    	    designated assistant.  If you are in an area that is accessible to the public,      	   	    patients or staff, you do not need to take any special precautions, except to 	  	    replace ceiling tiles, close the chase, or similar containment.   The Shop 	    	  	    Supervisor or designated assistant will contact the proper trained Engineering 	 	    Services personnel, who will review the suspected material, take a small 	 	    sample of the material (if needed) then send the sample to the State Hygienic 		    Lab for verification. If the sample returns 	positive then the proper steps will be 	 	    taken to have it removed.

2. Emergency Repairs

a. If the suspect material is around a pipe or valve that is leaking, or some other 		    repair situation which cannot wait for the results of the test on the sample, 	 	    Engineering Services designated personnel who have been trained and are 		    currently qualified to do glove bag removals may be able to take care of the 	 	    asbestos sufficiently enough to allow the needed repairs to occur. If no 	  	  	    personnel are available the UI Physical Plant will be contacted for this removal. 	    If the UI Physical Plant does not have anyone available a qualified contractor 	 	    will be contacted. The approved contractor list is available from the Operations 	 	    Manager.

3. Non-Emergencies

a. If emergency removal is not needed, there are several options available. You 	     	    may choose to hire the Physical Plant or an qualified outside contractor to 	  	    perform the removal.  You also may identify the asbestos on Engineering 		    Service’s master list of locations of asbestos and include its removal in one of 	    	    the on-going removal projects.

4. Engineering Services Training

a. All Engineering Services personnel are to be presented basic identification and safe          	practice training.

Source: UI Healthcare Engineering Services

Date effective: July1, 1995

Date Revised:

Date Reviewed: April 6, 2016