| SUBJECT/TITLE: | Interim Life Safety Assessment |
| --- | --- |
| PURPOSE: | To ensure safe conditions during maintenance and construction |

A.  All Engineering Services personnel, Contractors, Vendors and various Hospital    	Departments are responsible for evaluating, implementing and maintaining 	Interim Life Safety Measures whenever construction or maintenance activities 	affect life safety systems.

1.	When performing work in an exit corridor or stairwell, the individual 			performing the work shall not leave materials and tools unattended 				unless a written interim life safety assessment is completed and any 			required interim life safety measures have been implemented.

2.	Components of fire alarm, detection, and suppression systems shall not 			be covered or obstructed to allow for construction or maintenance and 			left unattended unless a written interim life safety assessment is 				completed and any required interim life safety measures have been 				implemented.

3.	Access to Fire Hose Cabinets, Electrical Panels, Medical Gas Valves, 			and similar items will not be blocked by materials and/or tools and left 			unattended unless a written interim life safety assessment is completed 			and any required interim life safety measures have been implemented.

4.	All work will comply with applicable NFPA, IBC, TJC, and LSC 				codes.

Source: UI Healthcare Engineering Services

Date effective: July1, 2007

Date Revised: July 23, 2008

Date Reviewed: April 7, 2016