| SUBJECT/TITLE: | Surgery Suite Communications for Utility Interruptions |
| --- | --- |
| PURPOSE: | Effective communication with surgery suite regarding utility interruptions. |

A. Engineering Services staff will communicate effectively with the involved Surgical Services in the event of an interruption of any utility system serving the surgery suite.

1. To communicate and update the operational status upon interruption of any surgery suite utility system.

2. To identify roles and responsibilities during a utility system failure event.

3. To ensure appropriate personnel are participating in utility system outage isolation and correction.

4. To maximize operational effectiveness during utility system failure events.

B. The senior Engineering Services staff member present will be responsible for communicating with the main operating room charge nurse.

1. Main operating room charge nurse will be responsible for surgical services communication per internal disaster plan.  (System Failure/Utility Outage.)

2. The senior facility operations staff member or designee is responsible for notifying the Director, Division of Engineering Services, the Operations Manager of Engineering Services, Engineering Services personnel (as required) if the utility interruption is expected to cause significant delays and problems for patient care.

3. The senior Engineering Services staff member will implement the Engineering Services call back procedure as required.

C.	Upon assessing the situation, the senior Engineering Services staff member will communicate the results of the assessment to the main operating room charge 	nurse.

1.	If the utility interruption can be readily resolved, (less than one hour and limited 	impact on operating room environment), as determined by consultation with OR 	Charge nurse and Anesthesia Triage Physician, the Facility Operations staff will 	facilitate and make a verbal report to the main operating room charge nurse.  A 	utility interruption report will be completed by the senior Engineering Services 	staff 	member.

2.	If the utility interruption cannot be readily resolved and will impact the operating 	room environment, as determined by consultation with OR Charge nurse and 	Anesthesia Triage Physician, the Engineering Services staff member will notify 	the 	Safety and Security Operations Center.  A call list will be executed in 	accordance 	with Engineering Services Policy Statement A-115.

3.	Upon resolution of the utility interruption, a Utility Interruption Report will be 	completed and copies will be forwarded through the Director of Engineering 	Services to the following:

Surgical Services Subcommittee Chair

Professor and Head Department of Anesthesia

Chief Operating Officer

Clinical Director Intensive and Surgical Services

Special Assistant to Director for Surgical Service/Designee

Related and Supporting Documentation

Surgical Services Emergency Preparedness Plan

Engineering Services, Policy Number C-001, Utilities Management Program

Engineering Services, Policy Statement, Number A-115, On Call and Call Back Procedure

Source: UI Healthcare Engineering Services

Date effective: July 1, 1995

Date revised: July 23, 2001

Date Reviewed: July 25, 2016