| SUBJECT/TITLE: | Preventative Maintenance Policy |
| --- | --- |
| PURPOSE: | To provide guidelines and frequency for preventative maintenance for the University of Iowa Hospitals and Clinics equipment and structure to mitigate failures and increase useful life. |
| POLICY: | 1. The objectives of the preventative maintenance program at the University of Iowa Hospitals and Clinics are to: a. Increase useful life of buildings and equipment; b. Mitigate emergency shutdowns and failures c. Provide a safe environment for patients, staff and visitors d. Control unforeseen expenses from equipment repairs, unscheduled labor and increased use of resources. e. Utilize preventative maintenance frequencies appropriate for the age of the equipment. 2. The Engineering Services management team is responsible to ensure the program is maintained and implemented. 3. The preventative maintenance program is maintained in the Engineering Services office. The plan for servicing equipment requiring scheduled maintenance is a component of the equipment inventory. 4. The equipment inventory includes the following equipment information: name/description of the equipment, preventative maintenance number, location or room, manufacturer, serial number, and frequency/month of the planned preventative maintenance work. 5. The designated supervisor will assign the planned work to an Engineering Services staff member. Following completion of the work, the staff member will document the completion of the preventative maintenance work and submit back to the appropriate supervisor. |

Source: UI Healthcare Engineering Services

Date effective: July 1, 1995

Date Reviewed: August 30, 2016