ATTACHEMENT TITLE:		MEDICAL AIR PRESSURE

# ATTACHMENT NUMBER:		ATT-18

## APPLICABLE POLICY:			C-208

| ### MEDICAL AIR | ##### PRESSURE |
| --- | --- |
| HIGH PRESSURE NITROGEN | 200 Ib. Line Pressure |
| NITROGEN | 170 Ib. Line Pressure |
| CARBON DIOXIDE | 50 Ib. Line Pressure |
| OXYGEN | 55 - 60 Ib. Line Pressure |
| NITROUS OXIDE | 55 Ib. Line Pressure |
| OIL FREE AIR | 55 - 60 Ib. Line Pressure |
| VACUUM | 16 - 22 ln. Hg.VAC. |
| EVACUATION | 16 - 22 In. Hg.VAC. |