ATTACHEMENT TITLE:		Natural Gas: Main valves, locations and areas served.

ATTACHMENT NUMBER:		ATT-19

## APPLICABLE POLICY:			C-209

| ### Gas Meter: Outside | Main Line Feed: | ### Main Line Feed: |
| --- | --- | --- |
| Located: GH E-136, East wall outside of window Serves: All of General Hospital and Boyd Tower | Location:G.H. B-23 Valve # G-1 Feeds: All General Hospital areas | Location:G.H. B-8 Valve # G-2 Feeds: All Boyd Tower Areas |
| Located: Shipping and Receiving South side covered walkway, South side of wall Serves: All of Shipping and Receiving, South Wing and Roy Carver Pavilion | Location:M.R.F. 67 Valve # G-3 Feeds: All of Shipping and Receiving, M.R.F., South Wing and Roy Carver Pavilion 0131-1 | Location:R.C.P. 0131-1 (Chlorine Room) Valve # G-4 Feeds: All Roy Carver Pavilion (All Labs, Atrium Dining, etc.) |
| Located: Pomerantz Family Pavilion (Through Door 01154-Y) Meter on N.W. Wall Serves: All of Pomerantz Family Pavilion | Location: PFP (Through Door 01154-Y) Valve # G-5 Feeds: All of Pomerantz Family Pavilion |  |