ATTACHEMENT TITLE:		SEWAGE EJECTORS

ATTACHMENT NUMBER:		ATT-20

## APPLICABLE POLICY:			C-210

| LOCATION | P.M. NUMBER | PUMP TYPE | AREAS SERVED |
| --- | --- | --- | --- |
| JCP-0595 | 12-224-049 | Metropolitan | JCP-0400-Z “LL” Area |
| JCP-0595 | 12-224-051 | Metropolitan | JCP-0400-Z “LL” Area |
| JCP-0595 | 12-224-059 | Weil | JCP-0400-Z MRI, X-O-Mat Waste |
| JCP-0595 | 12-224-061 | Weil | JCP 0400-Z MRI, X-O-Mat Waste |
| JCP-0695 | 12-224-062 | Weil | JCP “LL” CSS (Westside) Clean Area |
| JCP-0695 | 12-224-063 | Weil | JCP “LL” CSS (Westside) Clean Area |
| JCP-0322A | 12-224-071 | Weil | JCP “LL” CSS (Eastside) Decontam Area |
| JCP-0322A | 12-224-072 | Weil | JCP “LL” CSS (Eastside) Decontam Area |
| JPP-0895 | 12-224-018 | Weil | JPP-0911-2, “LL” Positron Emission Center |
| JPP-0895 | 12-224-019 | Weil | JPP-0911-2, “LL” Positron Emission Center |
| JPP-0700 | 12-224-064 | Metropolitan | JPP “LL” All Ortho and Physical Therapy Areas |
| South of PFP - 00005 | 12-224-088 | Metropolitan | PFP South Center and Southwest |
| South of PFP- 00005 | 12-224-089 | Metropolitan | PFP South Center and Southwest |
| West of PFP- 00004-A | 12-224-090 | Metropolitan | PFP North Center |
| West of PFP – 00004-A | 12-224-091 | Metropolitan | PFP North Center |
| Right of PFP- 00003 | 12-224-092 | Metropolitan | PFP Northeast |
| Right of PFP – 00003 | 12-224-093 | Metropolitan | PFP Northeast |
| S.Wall PFP Water Softener | 12-224-094 | Metropolitan | PFP Southeast |
| S.Wall PFP Water Softener | 12-224-095 | Metropolitan | PFP Southeast |
| NW Corner of PFP SubBsmt | 12-224-096 | Metropolitan | PFP Northwest |
| NW Corner of PFP SubBsmt | 12-224-097 | Metropolitan | PFP Northwest |