# ATTACHEMENT TITLE:		MEDICAL GAS ALARM TEST PROCEDURE

ATTACHMENT NUMBER:		ATT-24

## APPLICABLE POLICY:			C-211

| Instruction Code | 00688 | # Date Last Edited | 11/ 5/2004 |
| --- | --- | --- | --- |

MEDICAL GAS ALARM TEST PROCEDURE – JOHN COLLOTON PAVILION

1. TO TEST MEDICAL GAS ALARMS, PUSH THE TEST BUTTON MODULE READING TEST.

ALL MODULES SHOULD LIGHT UP AND ALARM SOUND. IF BULBS ARE BURNT OUT, REPLACE

WITH CORRECT COLOR BULBS. A SPECIAL TOOL IS NEEDED FOR CHANGING BULB. WHEN

REPLACING BULBS, INSURE THAT ONLY ONE MODULE  AT A TIME IS REMOVED, AS MODULE

CAN BE INTERCHANGED AND AN INNCORRECT SIGNAL WOULD BE GIVEN. (EXAMPLE: LOW

PRESSURE INSERTED ON HIGH PRESSURE SIDE AND VICE/VERSA) IF ALARM DOES NOT SOUND,

NOTIFY YOUR SUPERVISOR. IF UNIT HAS GUAGES, INSURE THAT THE GUAGES ARE IN

OPERATING RANGE. IF NOT IN OPERATING RANGE, REPORT TO YOUR SUPERVISOR.

LOCATIONS:

| JCP-BSMT 0400-Z | JCP-5828 (PAIN CLINIC) |
| --- | --- |
| JCP-1450 NSS | JCP-5TH EAST END |
| JCP-2489 HALLWAY | JCP-6TH WEST NSS |
| JCP-2329-2 NSS | JCP-6TH EAST NSS |
| JCP-2ND EAST NSS | JCP-7TH WEST NSS |
| JCP-2ND WEST NSS | JCP-7TH EAST NSS |
| JCP-3RD WEST NSS | JCP-8TH WEST NSS-CENTER |
| JCP-3370 NSS | JCP-8TH EAST NSS-CENTER |
| JCP-4402-Z |  |
| JCP-4TH WEST NSS |  |
| JCP-4TH EAST NSS |  |