| SUBJECT/TITLE: | Failure of Pneumatic Tube System Emergency Procedures |
| --- | --- |
| PURPOSE: | To restore Pneumatic Tube system. |

A.	Engineering Services personnel will:

1. Locate source of problem.

2. Call in additional personnel, if needed.

3. Activate Emergency call list, if needed.

4. See Pager Notification List

B. If repairs cannot be made in a reasonable amount of time (30 minutes or less), Engineering Services will notify the following:

1. Safety and Security

2. Pharmacy Department

3. Pathology Lab

4. Critical Care Lab

5. Emergency Department

C. If repairs are beyond the scope of in-house personnel, Engineering Services will call the appropriate outside contractor for assistance.

D. Related and Supporting Documentation

1. Utilities Management Program, Engineering Services Policy C-001

2. Safety Reference Cards

3 .On Call and Call Back Procedures, Engineering Services Policy A-115

Source: UI Healthcare Engineering Services

Date effective: July 1, 1995

Date Revised: May 19, 2009

Date Reviewed: April 13, 2016