| SUBJECT/TITLE: | Lockout and Tagout Procedure General Information |
| --- | --- |
| PURPOSE: | To control unexpected startup of electricity, water, steam and other utilities. |

A. 	To provide guidelines for using lockout/tagout procedure to control unexpected startup of electricity, water, steam, other utilities and equipment while performing maintenance or repairs.

1. LOCKOUT:
	a. When the power source for electricity, water, steam, other utilities and 		    	   equipment is turned off and a padlock or similar device is applied to a main 		    power source or feed handle, valve, etc., rendering it out of service and 		      	    making it impossible to turn on.

2. TAGOUT:

a. When a tag saying “DO NOT OPERATE, OUT OF SERVICE “is applied to 		    a piece of equipment.

b. The tag is designed to prevent someone from turning on a power source, switch 	     or valve, or resetting it.

3. NOTIFICATION:

a. Personnel installing lockout/tagout devices are responsible for proper 			    notification to personnel and areas affected.

4. REMOVAL OF LOCKOUT/TAGOUT DEVICES:
	a. The person who applied the lockout/tagout is responsible for notifying the 		     personnel and areas affected that equipment, utility, etc., is ready for start-up.  		 b. The lockout/tagout devices must be removed ONLY by the person who 		     applied them.  Each person should have their own separate keyed lockout 		     device.

Source: UI Healthcare Engineering Services

Date effective: July1, 1995

Date Reviewed: April 13, 2016