| SUBJECT/TITLE: | Boiler and Steam Distribution Systems Emergency Procedures |
| --- | --- |
| PURPOSE: | To restore steam service. |

A. The University of Iowa Hospitals and Clinics shall maintain a connection to the UI steam Plant and the standby boiler located in the sub-basement of the Pomerantz Family Pavilion. Emergency procedures shall be in-place for any partial or total loss of steam.

B. Failure of Steam Distribution Systems during normal business hours Monday through Friday.

1. Call Engineering Services at 6-2711 0r 800 service line.

2. The Supervisor of the Mechanical Shop, or designee, will assess the 	interruption       	and will initiate whatever immediate corrective action possible and 	keep 	the Engineering Services Operations Manager and Department Director 	informed.

a. Engineering Services Personnel will:

1) Secure valves as required to isolate the problem.

2) Locate source of problem and make repairs as necessary.

3) Insure that the Steam generators in the MOR, ASC & CSS are 				     functional.

4) Contact UI Steam Distribution to bring the standby boiler

on-line if needed.

5) Call in additional personnel, if needed.

b If repairs cannot be made in a reasonable amount of time (30 minutes or 		      less), Engineering Services Supervisor will request help from Physical Plant 	          	      Steam Distribution Department and an outside contractor, if needed.

C. Failure of Steam Distribution Systems after normal business hours, weekends and holidays

1. Call Safety & Security who will then contact the Engineering Services On-Call Supervisor.

a. Engineering Services On-Call Supervisor will contact the appropriate On-Call 		     personnel who will:

1) Secure shut-off valves as required to isolate the problem.

2) Locate the source of the problem and make repairs as 					     necessary.

3) Insure that the Steam generators in the MOR, ASC & CSS are 				     functional.

4) Contact UI Steam Distribution to bring the standby boiler

on-line if needed

5) Request additional personnel, if needed.

b. If repairs cannot be made in a reasonable amount of time (30 minutes or 		     less), the Engineering Services Supervisor will contact the UI Facilities Steam 		     Distribution or an outside contractor as required.

c. Contact the Engineering Services Operations Manager and Department 			     Director to apprise them of the situation.

d. The Engineering Services Director will contact the Administrator On-Call and 		     inform him/her of the situation

D. Related and Supporting Documentation

1. Utilities Management Program, Engineering Services Policy C-001

2. Safety Reference Cards

3. On Call and Call Back Procedures, Engineering Services Policy A-115

Source: UI Healthcare Engineering Services

Date effective: July1, 1995

Date Revised: March 11, 2009

Date Reviewed: April 14, 2016