| SUBJECT/TITLE: | Failure of Natural Gas Supply |
| --- | --- |
| PURPOSE: | To maintain natural gas supply. |

PROCEDURE:

1.	Engineering Services personnel will:

A.	Locate source of problem

B.	Call in additional personnel if needed

C.	Activate Emergency call list if needed

2.	If repairs cannot be made in a reasonable amount of time (30 minutes or 			less), Engineering Services will notify the following:

A.	Safety and Security

B.	Pathology Lab Department

C.	Main Kitchen

D.	Dietary Services

E.	Nursing Department

3.	If repairs are beyond the scope of in-house personnel, Engineering Services  		will call the appropriate outside contractor for assistance, and Iowa-Illinois 			Gas Company if needed.

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineerng Services Policy A-115

Source: UI Healthcare Engineering Services

Date effective: July 1, 1995

Date Reviewed: April 19, 2016