| SUBJECT/TITLE: | Sewage Removal Ejector Pump Failure |
| --- | --- |
| PURPOSE: | To maintain operation of sewage ejectors. |

PROCEDURE:

1.	Engineering Services personnel will:

A.	Locate source of problem.

B.	Call in additional personnel if needed.

C.	Activate Emergency call list if needed.

2.	If repairs cannot be made in a reasonable amount of time (30 minutes or 			less), Engineering Services will notify the following:

A.	Safety and Security

B.	Specific Areas that will be out of service.

3.	If repairs are beyond the scope of in-house personnel, Engineering Services  		will call the appropriate outside contractor for assistance.

4.	After clean up, rinse area thoroughly with disinfectant. (One part household 		bleach, three parts water.)

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineering Services Policy A-115

Source: UI Healthcare Engineering Services

Date effective: July 1, 1995

Date Reviewed: April 19, 2016