| SUBJECT/TITLE: | Failure or scheduled Shutdown of GH Air Handling Unit #18 Serving In Vitro Fertilization |
| --- | --- |
| PURPOSE: | To maintain operation of Air Handler unit #18. |

PROCEDURE:

1. Notification:

A. If the Air Handling Unit is found out of service, or must be shut off for 			     scheduled repairs or maintenance, In Vitro Fertilization (IVF) personnel must 		     be notified for their planning purposes.  Contact one of the personnel on the 	   	     attached list. Communicate the status of the Air Handling Unit and length of 	 	     time required to complete repairs or maintenance

B. When the required repairs or maintenance has 						     been completed, restart the Air Handling Unit.

C. Contact In Vitro Fertilization personnel to give notice the Air Handling Unit is 	   	     back in service.  Call Amy Sparks at 384-8349 or the IVF lab at 384-8348

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineering Services Policy A-115

Source: UI Healthcare Engineering Services

Date effective: July 1, 1995

Date Revised: Nov. 2, 2001

Date Reviewed: April 19, 2016