| SUBJECT/TITLE: | Failure of M.R.I. Air Handling Unit #11 JCP and or Exhaust Fans |
| --- | --- |
| PURPOSE: | To maintain operation of Air Handler units #11 JCP and exhaust fans. |

A. PROCEDURE:

1. Notify staff in M.R.I. at 356-2236 about the failure and the areas affected.

2. Check affected Air Handling Unit for the following:

a. Control Failure

1. Check the operation of the unit on Siemens BAS

2. Check safety circuit

b. Electrical

1. Check disconnect for power.

c. Mechanical Failure

1. Check belts, bearings and motors.

3. If Environmental Systems Mechanic is unable to identify the problem, contact the lead person, Operations Manager of Engineering Services and the Director of Engineering Services, as required.

4. Notify the staff in M.R.I. at 356-2236 as to the status of the Air Handling Unit, 		and the length of time required to effect repairs for their planning purposes.

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineering Services Policy A-115

Source: UI Healthcare Engineering Services

Date effective: July 1, 1995

Date Revised: Aug. 8, 2001

Date Reviewed: April 20, 2016