| SUBJECT/TITLE: | Building and Equipment Maintenance Management Procedure of Ambulatory Surgery Center Air Handling Units #16 and #17 PFP |
| --- | --- |
| PURPOSE: | To maintain operation of Ambulatory Surgery Center Air Handers #16 and #17. |

A. PROCEDURE:

1.	Notify staff in Ambulatory Surgery area at 356-0500 about the maintenance work to be done and the areas that will be affected.

2.	Do the maintenance as per the instructions in the Maintenance Management System.

3.	Notify the staff in Ambulatory Surgery area at 356-0500 when the 				maintenance is completed on the Air Handling Units.

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineering Services Policy A-115

Date effective: July 1, 1995

Date Revised: Aug.10, 2001

Date Reviewed: April 20, 2016