| SUBJECT/TITLE: | Building and Equipment Maintenance Management Procedure of Positron Emission Tomography (PET) Air Handling Unit #1 JPP and or Exhaust Fans |
| --- | --- |
| PURPOSE: | To maintain operation of PET Air Hander. |

A. PROCEDURE:

1. Notify the staff in the P.E.T. Area at 356-4100 about the maintenance work to be 	done and the areas that will be affected.

2. Do the maintenance as per the instructions in the Maintenance Management 	System.

3. Notify the staff in the P.E.T. Department at 356-4100 when the maintenance is 	completed on the Air Handling Unit or the Exhaust fans.

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineering Services Policy A-115

Date effective: July 1, 1995

Date Revised: July 25, 2001

Date Reviewed: April 21, 2016