| SUBJECT/TITLE: | Building and Equipment Maintenance Management Procedure of Nuclear Medicine Air Handling Units #3 and #6 JPP and or Exhaust Fans. |
| --- | --- |
| PURPOSE: | To maintain operation of Nuclear Medicine Air Handers. |

A. PROCEDURE:

1.	Notify the staff in Nuclear Medicine at 356-1911 about the maintenance work to 	be done and the areas that will be affected.

2.	Do the maintenance as per the instructions in the Maintenance Management 	System.

3.	Notify the staff in the Nuclear Medicine area at 356-1911 when the 			maintenance is complete on the Air Handling Units or Exhaust 				fans.

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineering Services Policy A-115

Date effective: July 1, 1995

Date Revised: July 26, 2001

Date Reviewed: April 21, 2016