| SUBJECT/TITLE: | Building and Equipment Maintenance Management Procedure of Surgical Intensive Care Unit (SICU)/Perinatal Exhaust Fans JPP. |
| --- | --- |
| PURPOSE: | To maintain operation of SICU/Perinatal Exhaust Fans. |

A. PROCEDURE:

1.	Notify the staff in the SICU JPP Area at 356-4141 and/or in the Perinatal area at 	356-2631 about the maintenance work to be done and the areas that will be 	affected.

2.	Instructions on change of filters for exhaust fans (located in the East 			Equipment Room of JPP) are located on the exhaust fans.

3.	Do the maintenance as per the instructions in the Maintenance Management 	System.

4.	Notify the staff in the SICU Department at 356-4141 and/or in the Perinatal area 	at 356-2631 when the maintenance is complete on the exhaust fans.

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineering Services Policy A-115

Date effective: July 1, 1995

Date Revised: November 2, 2004

Date Reviewed: April 21, 2016