| SUBJECT/TITLE: | Failure of P.E.T. Chilled Water Flow or Temperature |
| --- | --- |
| PURPOSE: | To maintain operation of PET chilled water. |

A. PROCEDURE:

1.	Notify staff in P.E.T. at 356-4100 about the failure, and the areas affected.  		(Cyclotron\Liebert)

2.	Check main chilled water pumps, located in JPP West Basement.

3.	Check in power supply room in the P.E.T. area, with personnel from P.E.T., 		to see that the domestic water back up for the cyclotron has switched over 		and that there is water (either chilled or domestic) available for cooling 			the cyclotron heat exchanger.

4	Notify staff in P.E.T. and 356-4100 as to the status of the chilled water and 		the length of time required to effect repairs for their planning purposes.

.

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineering Services Policy A-115

Date effective: July 1, 1995

Date Reviewed: April 22, 2016