| SUBJECT/TITLE: | Access to In Vitro Fertilization for Air Flow Measurement |
| --- | --- |
| PURPOSE: | To maintain ideal air flow to in vitro fertilization unit. |

A. PROCEDURE:

1.	Notification:

a. Unauthorized entry to room PFP 40004 is not allowed.  Contact 				     one of the In vitro Fertilization personnel (attached list) to 				     receive permission to enter the room.

2.	Air Flow Measurement

a. Check Siemans BAS for air handler 18 operation

b. Ensure supply airflow is positive on BAS (all pressures are on BAS)

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineering Services Policy A-115

Date effective: July 1, 1995

Date Reviewed: April 25, 2016