| SUBJECT/TITLE: | Access to Operating Room Suite Area 5 JCP West |
| --- | --- |
| PURPOSE: | To properly access Operating Room area for repair work. |

A. PROCEDURE:

1.	Notify the personnel in the Operating Room area as to the access required 		and determine the necessary procedure to be followed to enter those areas.

2.	If no one is in the area, call the Operating Rooms at 353-6400, or Safety and 		Security at 356-2658.

3.	After finishing work in that area, talk to personnel in the area about what was 		done and if it is finished.

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineering Services

Date effective: July 1, 1995

Date Reviewed: May 25, 2016