| SUBJECT/TITLE: | Failure or Scheduled Shutdown of Pomerantz Chilled Water Pump |
| --- | --- |
| PURPOSE: | To properly shutdown Pomerantz chilled water pump |

A. PROCEDURE:

1.	Notify the staff in the Eye Department of the shutdown, and notify 				Telecommunications of the shutdown and the areas affected.

2.	Check the affected chilled water pump for the following:

a. Control Failure

1. Check the VFD.

2. Check the operation of the unit on the Metasys Johnson 					Controls computer system.

b. Electrical Problems

1. Check the power to the VFD.

c. Mechanical Failure

1. Check the bearings and the motor.

3.	If the Environmental Systems Mechanic is unable to identify the problem, 			contact the lead person, Operations Manager of Engineering Services and 		the Director of Engineering Services, as 	required.

4.	Notify the staff in the Eye Department as to the status of the exhaust fan and 		the length of time required to effect repairs for their planning purposes.

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineering Services Policy A-115

Date effective: July 1, 1995

Date Reviewed: April 25, 2016