| SUBJECT/TITLE: | Failure of Chilled Water Telecommunications Backup Cooling Change Over in Pomerantz |
| --- | --- |
| PURPOSE: | To properly change over backup cooling for telecommunications chilled water |

A. PROCEDURE:

1.	Check main chilled water pumps located in the Northwest corner of the 			Pomerantz Sub-basement.

2.	Turn on the back up cooling pump located the same area as listed above.

3.	Start up the back up chiller located in the same area as listed in item # 1.

4.	Reverse the above process when main chilled water is restored.

Related and Supporting Documentation

•	Utilities Management Program, Engineering Services Policy C-001

•	Safety Reference Cards

•	On Call and Call Back Procedures, Engineering Services Policy A-115

Date effective: July 1, 1995

Date Reviewed: April 25, 2016